# Energy efficiency report — Riverside University Campus

Comparative analysis of electricity consumption between March and April 2026 after rolling out the smart sensor and load-control system.

## 1. Monthly summary

Total consumption per zone before and after the rollout.

| Site | March 2026 (no system), kWh | April 2026 (with system), kWh | Saved |
| --- | --- | --- | --- |
| Academic Buildings | 52,000 | 44,500 | -14.4% |
| Dormitories | 38,000 | 34,200 | -10.0% |
| Administration | 12,500 | 10,300 | -17.6% |
| Laboratories | 28,000 | 25,800 | -7.9% |
| Outdoor Lighting | 9,500 | 6,900 | -27.4% |
| TOTAL | 140,000 | 121,700 | -13.1% |

## 2. Daily breakdown (sample week)

March 2026 (no system)

| Day | Consumption (kWh) |
| --- | --- |
| 03/01 | 4,600 |
| 03/02 | 4,550 |
| 03/03 | 4,700 |
| 03/04 | 4,650 |
| 03/05 | 4,800 |
| 03/06 | 4,900 |
| 03/07 | 4,750 |

April 2026 (with system)

| Day | Consumption (kWh) |
| --- | --- |
| 04/01 | 4,100 |
| 04/02 | 4,050 |
| 04/03 | 4,200 |
| 04/04 | 4,150 |
| 04/05 | 4,250 |
| 04/06 | 4,300 |
| 04/07 | 4,120 |

## 3. Load mix

March 2026 (no system)

| Load type | Consumption (kWh) | Share |
| --- | --- | --- |
| Lighting | 35,000 | 25% |
| HVAC | 45,000 | 32% |
| Equipment | 38,000 | 27% |
| Other | 22,000 | 16% |

April 2026 (with system)

| Load type | Consumption (kWh) | Share |
| --- | --- | --- |
| Lighting | 25,000 | 20% |
| HVAC | 42,000 | 34% |
| Equipment | 36,000 | 30% |
| Other | 18,700 | 16% |

Source: campus metering systems · automated report.